Module Name: DCM

Q. No. 1

Question:

The _________________ SPEC Benchmark consists of SSL and non-SSL workload such as e-commerce and banking.

Answer Choices

A: SPECweb99

B: SPECweb99_SSL

C: SPECweb99_HTTPS

D: SPECweb2004

Q. No. 2

Question:

Which of the following is not part of a Point of Distribution (POD) rack.

Answer Choices

A: Cross-patch ports

B: Network terminal servers

C: Network subswitches

D: UPS

Q. No. 3

Question:

_____________ is defined as the process of bringing together disconnected parts to make a single and complete whole.

Answer Choices

A: Segregation

B: Consolidation

C: Segmentation

D: Calibration

Q. No. 4

Question:

In SNMP, _________ is a collection of hierarchically organized OIDs.

Answer Choices

A: SMB

B: MID

C: MIB

D: SMTP

Q. No. 5

Question:

The main two types of server consolidation are ________________ and _________________.

Answer Choices

A: Horizontal Scaling and Parallel Scaling

B: Parallel Scaling and Vertical Scaling

C: Horizontal Scaling and Vertical Scaling

D: Parallel Scaling and Forward Scaling

Q. No. 6

Question:

In SNMP, the ________watches for an event, and if it occurs, performs some action

Answer Choices

A: Watch

B: alert

C: trigger

D: trap

Q. No. 7

Question:

___________________specifies how you can reduce the server count by running multiple applications on fewer but well-beefed-up servers.

Answer Choices

A: Horizontal Scaling

B: Vertical Scaling

C: Parallel Scaling

D: Forward Scaling

Q. No. 8

Question:

An outlet for small rack-mounted devices of 15 amps, 120 volts, require ______ watts.

Answer Choices

A: 180

B: 18000

C: 1800

D: 18

Q. No. 9

Question:

_____________ is external SRAM and sits between the CPU and DRAM.

Answer Choices

A: L1 Cache

B: L2 Cache

C: L3 Cache

D: L4 Cache

Q. No. 10

Question:

In the SPEC Benchmark, non-base options are also known as ______ metrics.

Answer Choices

A: peak

B: apex

C: top

D: lean

Q. No. 11

Question:

An IBM p690 server weighing 2,600 pounds has a point load of ____ pounds on each of its feet.

Answer Choices

A: 450

B: 550

C: 650

D: 750

Q. No. 12

Question:

___________ is the amount of time that a user must wait for response from the system

Answer Choices

A: Latency

B: Efficiency

C: Speed

D: Throughput

Q. No. 13

Question:

_____________ is rapid discharge of static electricity between two objects that are at different electric potential.

Answer Choices

A: ESD

B: ESP

C: WATT

D: VOLT

Q. No. 14

Question:

________________ is number of ports per U of rack height.

Answer Choices

A: Rack density

B: port Density

C: Unit Density

D: equipment Density

Q. No. 15

Question:

NFSops/sec, transactions per minute (tpm), disk data transfer rate of megabytes per second (MBps), and network transfer rate of megabits per second (mbps) are all examples of ________________

Answer Choices

A: Latency

B: Efficiency

C: Speed

D: Throughput

Q. No. 16

Question:

_______________ is the amount of moisture in the air at a given temperature in relation to the maximum amount that the air can hold at that temperature.

Answer Choices

A: AH

B: RH

C: CH

D: QH

Q. No. 17

Question:

The C in CINTxxxx and CFPxxxx stands for _____________.

Answer Choices

A: Composite

B: Component

C: Client

D: Cumulative

Q. No. 18

Question:

Which of the following is not a SPEC floating point benchmarks

Answer Choices

A: SPECfpxxxx

B: SPECfp_basexxxx

C: SPECfp_ratexxxx

D: SPECfp_base_ratexxxx

Q. No. 19

Question:

SNMP runs over __________.

Answer Choices

A: TCP

B: UDP

C: ICMP

D: ARP

Q. No. 20

Question:

In SNMP, the _________ command configures a value

Answer Choices

A: GET

B: SET

C: POLL

D: ASSIGN

Q. No. 21

Question:

SPEC provides the test suite as ___________

Answer Choices

A: Library files

B: Compiled binary

C: Source code

D: All of the above

Q. No. 22

Question:

The __________ is also known as a portmaster.

Answer Choices

A: Terminal Server

B: Network Manager Server

C: Network Monitor Server

D: SNMP Server

Q. No. 23

Question:

SNMP runs over port number _________.

Answer Choices

A: 160

B: 161

C: 162

D: 163

Q. No. 24

Question:

____________________ is the capability to control systems not through existing network infrastructure but via a different data network or via a dial-in capability for individual devices.

Answer Choices

A: In-band monitoring

B: Out-of-band monitoring

C: Horizontal monitoring

D: Vertical Monitoring

Q. No. 25

Question:

A 10-Mbits/s network link delivering data at 2 Mbits/sec has a utilization of ___________ percent.

Answer Choices

A: 10

B:20

C: 30

D: 40